## Oct 25
|  |  | Snapshot | 2.4 | 4.1 | 3.2 | 0 | 1.8 |  | 30 Sep @ midnight
|  |  | Snapshot | 2.99 | 3.96 | 2.99 | 0 | 2.9 |  | 31 Oct @ midnight
Month: |  |  | October | 2025
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 34.7 |  | 36.2 | All ON
| 2 | 1 |  |  |  | 42.9 |  | 42.5 | All ON
| 3 | 1 |  |  |  | 39.4 |  | 39.6 | All ON
| 4 | 1 |  |  |  | 41.5 |  | 42.8 | All ON
| 5 | 1 |  |  |  | 34.2 |  | 33.1 | All ON
| 6 | 1 |  |  |  | 43.9 |  | 44.1 | All ON
| 7 | 1 |  |  |  | 42.9 |  | 41.7 | All ON
| 8 | 1 |  |  |  | 38.8 |  | 39.9 | All ON
| 9 | 1 |  |  |  | 36 |  | 37.8 | All ON
| 10 | 1 |  |  |  | 44.7 |  | 43.6 | All ON
| 11 | 1 |  |  |  | 33.3 |  | 33.8 | All ON
| 12 | 1 |  |  |  | 45.2 |  | 45.2 | All ON
| 13 | 1 |  |  |  | 35.8 |  | 36 | All ON | [9 empty] | 2025-10-13 09:00
| 14 | 1 |  |  |  | 33.4 |  | 32.9 | All ON |  |  | 2025-10-14 09:00
| 15 | 1 |  |  |  | 38.7 |  | 39.1 | All ON
| 16 | 1 |  |  |  | 36 |  | 35.5 | All ON
| 17 | 1 |  |  |  | 35.8 |  | 36.1 | All ON
| 18 | 1 |  |  |  | 36.8 |  | 35.7 | All ON
| 19 | 1 |  |  |  | 43.9 |  | 44.5 | All ON
| 20 | 1 |  |  |  | 41.3 |  | 40.7 | All ON
| 21 | 1 |  |  |  | 45.9 |  | 47.5 | All ON
| 22 | 1 | Sample run collected |  |  | 34.6 |  | 34.5 | All ON
| 23 | 1 | Heavy rain overnight, no issues |  |  | 42.4 |  | 43.5 | All ON
| 24 | 1 |  |  |  | 45.2 |  | 45.4 | All ON
| 25 | 1 | s.v - routine site check |  |  | 43.8 |  | 44.7 | All ON
| 26 | 1 |  |  |  | 36.9 |  | 37.6 | All ON
| 27 | 1 |  |  |  | 44.5 |  | 46 | All ON
| 28 | 1 |  |  |  | 39.6 |  | 40.3 | All ON | [9 empty] | 2025-10-28 09:00
| 29 | 1 |  |  |  | 33.4 |  | 33 | All ON
| 30 | 1 |  |  |  | 43.4 |  | 43.5 | All ON
| 31 | 1 |  |  |  | 35.2 |  | 35.8 | All ON
5.1
[12 empty] | 1 | 0.92 | 1.24 | 1.05
3.2
[6 empty] | Hand balance (legacy) |  |  |  | 1.5 | 0.12

## Nov 25
|  |  | Snapshot | 2.99 | 3.96 | 2.99 | 0 | 2.9 |  | 31 Oct @ midnight
|  |  | Snapshot | 2.24 | 3.37 | 2.67 | 0 | 2.07 |  | 30 Nov @ 1145pm
Month: |  |  | November | 2025
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 33.6 |  | 34.7 | All ON | [7 empty] | 2025-11-01 09:00
| 2 | 1 |  |  |  | 45.8 |  | 46.5 | All ON
| 3 | 1 |  |  |  | 38.1 |  | 37.4 | All ON
| 4 | 1 |  |  |  | 39.5 |  | 41.4 | All ON
| 5 | 1 |  |  |  | 43 |  | 43.5 | All ON
| 6 | 1 | Greased AE pump, all normal |  |  | 44.2 |  | 43.7 | All ON
| 7 | 1 |  |  |  | 39.7 |  | 41.5 | All ON
| 8 | 1 |  |  |  | 40.5 |  | 40.8 | All ON
| 9 | 1 | Heavy rain overnight, no issues |  |  | 36.5 |  | 37.1 | All ON
| 10 | 1 |  |  |  | 45.4 |  | 44.2 | All ON
| 11 | 1 |  |  |  | 43.2 |  | 44.6 | All ON | [8 empty] | 2025-11-11 09:00
| 12 | 1 |  |  |  | 44.5 |  | 45.7 | All ON
| 13 | 1 |  |  |  | 43.5 |  | 44 | All ON
| 14 | 1 |  |  |  | 40.3 |  | 40.5 | All ON | [5 empty] | 2025-11-14 09:00
| 15 | 1 |  |  |  | 33.7 |  | 35.3 | All ON
| 16 | 1 |  |  |  | 40.4 |  | 39.8 | All ON
| 17 | 1 | Heavy rain overnight, no issues |  |  | 39.6 |  | 40 | All ON
| 18 | 1 |  |  |  | 37.6 |  | 37.5 | All ON
| 19 | 1 |  |  |  | 40 |  | 40.8 | All ON
| 20 | 1 |  |  |  | 41 |  | 41.3 | All ON
| 21 | 1 | False flow during filter swap - 0.4 deducted |  | 0.4 | 33.4 |  | 32.9 | All ON
| 22 | 1 |  |  |  | 35.3 |  | 36 | All ON
| 23 | 1 |  |  |  | 44.2 |  | 45.6 | All ON
| 24 | 1 |  |  |  | 43.4 |  | 44.8 | All ON
| 25 | 1 |  |  |  | 36.3 |  | 37.8 | All ON
| 26 | 1 |  |  |  | 41.8 |  | 40.9 | All ON
| 27 | 1 |  |  |  | 33.2 |  | 32 | All ON
| 28 | 1 |  |  |  | 42.8 |  | 42.4 | All ON
| 29 | 1 |  |  |  | 34.4 |  | 35.2 | All ON
| 30 | 1 |  |  |  | 37.5 |  | 36.5 | All ON
5.1
[12 empty] | 1 | 0.92 | 1.24 | 1.05
3.2
[6 empty] | Hand balance (legacy) |  |  |  | 1.9 | 0.16

## Dec 25
|  |  | Snapshot | 2.24 | 3.37 | 2.67 | 0 | 2.07 |  | 30 Nov @ 1145pm
|  |  | Snapshot | 1.3 | 1.98 | 1.61 | 0 | 1.55 |  | 31 Dec @ midnight
Month: |  |  | December | 2025
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 36.4 |  | 36 | All ON
| 2 | 1 |  |  |  | 42.5 |  | 44.4 | All ON
| 3 | 1 |  |  |  | 45.6 |  | 45.8 | All ON
| 4 | 1 |  |  |  | 45.7 |  | 45.2 | All ON
| 5 | 1 | Greased AE pump, all normal |  |  | 38.2 |  | 37.1 | All ON
| 6 | 1 |  |  |  | 45.5 |  | 45.7 | All ON
| 7 | 1 |  |  |  | 39.6 |  | 39.8 | All ON
| 8 | 1 |  |  |  | 43.8 |  | 45.7 | All ON
| 9 | 1 |  |  |  | 41.2 |  | 42.2 | All ON
| 10 | 1 |  |  |  | 38.9 |  | 39.4 | All ON
| 11 | 1 |  |  |  | 33.4 |  | 34.4 | All ON
| 12 | 1 |  |  |  | 43.4 |  | 44.3 | All ON
| 13 | 1 |  |  |  | 38.5 |  | 39.7 | All ON | [9 empty] | 2025-12-13 09:00
| 14 | 1 |  |  |  | 34.6 |  | 34.1 | All ON
| 15 | 1 |  |  |  | 33.6 |  | 32.6 | All ON
| 16 | 1 |  |  |  | 34 |  | 35.7 | All ON
| 17 | 1 |  |  |  | 36.9 |  | 36.2 | All ON
| 18 | 1 |  |  |  | 40.3 |  | 39.5 | All ON
| 19 | 1 | Sample run collected |  |  | 40.3 |  | 41.8 | All ON | [10 empty] | 2025-12-19 09:00
| 20 | 1 |  |  |  | 40.7 |  | 40.2 | All ON
| 21 | 1 |  |  |  | 44.7 |  | 45 | All ON
| 22 | 1 |  |  |  | 43.8 |  | 45.4 | All ON
| 23 | 1 |  |  |  | 43.1 |  | 43.9 | All ON
| 24 | 1 |  |  |  | 33.5 |  | 32.9 | All ON
| 25 | 1 |  |  |  | 34.3 |  | 34.9 | All ON
| 26 | 1 | Heavy rain overnight, no issues |  |  | 44.7 |  | 45.4 | All ON
| 27 | 1 |  |  |  | 39.4 |  | 41.2 | All ON
| 28 | 1 |  |  |  | 38.1 |  | 38.5 | All ON
| 29 | 1 |  |  |  | 33.2 |  | 34 | All ON
| 30 | 1 |  |  |  | 38.2 |  | 37.9 | All ON
| 31 | 1 |  |  |  | 35 |  | 36.5 | All ON | [10 empty] | 2025-12-31 09:00
5.1
[12 empty] | 1 | 0.92 | 1.24 | 1.05
3.2

## Jan 26
|  |  | Snapshot | 1.3 | 1.98 | 1.61 | 0 | 1.55 |  | 31 Dec @ midnight
|  |  | Snapshot | 1.22 | 1.99 | 1.48 | 0 | 1.59 |  | 31 Jan @ 0800am
Month: |  |  | January | 2026
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 36.1 |  | 37.2 | All ON
| 2 | 1 |  |  |  | 34.1 |  | 33.4 | All ON
| 3 | 1 |  |  |  | 44.8 |  | 44.3 | All ON
| 4 | 1 |  |  |  | 42.9 |  | 43.6 | All ON |  |  |  | 2026-01-04 09:00
| 5 | 1 |  |  |  | 43.9 |  | 43.9 | All ON
| 6 | 1 |  |  |  | 37.4 |  | 37.1 | All ON
| 7 | 1 |  |  |  | 44.3 |  | 45 | All ON
| 8 | 1 |  |  |  | 45.4 |  | 47 | All ON
| 9 | 1 |  |  |  | 34.8 |  | 35.4 | All ON
| 10 | 1 |  |  |  | 34.4 |  | 33.3 | All ON
| 11 | 1 |  |  |  | 34 |  | 35.6 | All ON
| 12 | 1 |  |  |  | 29.1 |  | 28.6 | 1 off - EW04 (screen clean)
| 13 | 1 |  |  |  | 31.5 |  | 31.4 | 1 off - EW04 (screen clean) | [6 empty] | 2026-01-13 09:00
| 14 | 1 |  |  |  | 30.5 |  | 30.7 | 1 off - EW04 (screen clean)
| 15 | 1 | Low day - EW04 still isolated |  |  | 26.4 |  | 27.1 | 1 off - EW04 (screen clean)
| 16 | 1 |  |  |  | 31.3 |  | 32.3 | 1 off - EW04 (screen clean)
| 17 | 1 |  |  |  | 31.4 |  | 31.1 | 1 off - EW04 (screen clean)
| 18 | 1 |  |  |  | 29.5 |  | 29.9 | 1 off - EW04 (screen clean)
| 19 | 1 | Heavy rain overnight, no issues |  |  | 36.6 |  | 37.9 | All ON
| 20 | 1 |  |  |  | 43.8 |  | 42.6 | All ON
| 21 | 1 |  |  |  | 41.7 |  | 40.8 | All ON
| 22 | 1 |  |  |  | 34.5 |  | 36.1 | All ON
| 23 | 1 |  |  |  | 33.5 |  | 33.1 | All ON
| 24 | 1 |  |  |  | 45.8 |  | 45.9 | All ON
| 25 | 1 |  |  |  | 34.5 |  | 33.8 | All ON
| 26 | 1 |  |  |  | 36.1 |  | 37.3 | All ON
| 27 | 1 |  |  |  | 34.3 |  | 36 | All ON
| 28 | 1 |  |  |  | 37.9 |  | 39.8 | All ON | [9 empty] | 2026-01-28 09:00
| 29 | 1 | Heavy rain overnight, no issues |  |  | 44.8 |  | 44.5 | All ON
| 30 | 1 | Sample run collected |  |  | 36.3 |  | 36.6 | All ON
| 31 | 1 |  |  |  | 34.3 |  | 35.2 | All ON
5.1
[12 empty] | 1 | 0.92 | 1.24 | 1.05
3.2

## Feb 26
|  |  | Snapshot | 1.22 | 1.99 | 1.48 | 0 | 1.59 |  | 31 Jan @ 0800am
|  |  | Snapshot | 1.22 | 1.99 | 1.48 | 0 | 1.59 |  | 28 Feb @ midnight
Month: |  |  | February | 2026
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 0 | Plant OFFLINE - discharge line repair |  |  | 0 |  | 0 | All OFF
| 2 | 0 |  |  |  | 0 |  | 0 | All OFF
| 3 | 0 |  |  |  | 0 |  | 0 | All OFF
| 4 | 0 |  |  |  | 0 |  | 0 | All OFF
| 5 | 0 |  |  |  | 0 |  | 0 | All OFF
| 6 | 0 |  |  |  | 0 |  | 0 | All OFF
| 7 | 0 |  |  |  | 0 |  | 0 | All OFF
| 8 | 0 |  |  |  | 0 |  | 0 | All OFF
| 9 | 0 |  |  |  | 0 |  | 0 | All OFF
| 10 | 0 |  |  |  | 0 |  | 0 | All OFF |  |  | OFFLINE
| 11 | 0 |  |  |  | 0 |  | 0 | All OFF
| 12 | 0 |  |  |  | 0 |  | 0 | All OFF
| 13 | 0 |  |  |  | 0 |  | 0 | All OFF
| 14 | 0 |  |  |  | 0 |  | 0 | All OFF
| 15 | 0 |  |  |  | 0 |  | 0 | All OFF
| 16 | 0 |  |  |  | 0 |  | 0 | All OFF
| 17 | 0 |  |  |  | 0 |  | 0 | All OFF
| 18 | 0 |  |  |  | 0 |  | 0 | All OFF
| 19 | 0 |  |  |  | 0 |  | 0 | All OFF
| 20 | 0 |  |  |  | 0 |  | 0 | All OFF
| 21 | 0 |  |  |  | 0 |  | 0 | All OFF
| 22 | 0 |  |  |  | 0 |  | 0 | All OFF
| 23 | 0 |  |  |  | 0 |  | 0 | All OFF
| 24 | 0 |  |  |  | 0 |  | 0 | All OFF
| 25 | 0 |  |  |  | 0 |  | 0 | All OFF
| 26 | 0 |  |  |  | 0 |  | 0 | All OFF
| 27 | 0 |  |  |  | 0 |  | 0 | All OFF
| 28 | 0 | Recommissioning checks pm |  |  | 0 |  | 0 | All OFF
5.1
[12 empty] | 1 | 0.92 | 1.24 | 1.05
3.2

## Mar 26
|  |  | Snapshot | 1.22 | 1.99 | 1.48 | 0 | 1.59 |  | 28 Feb @ midnight
|  |  | Snapshot | 1.31 | 1.67 | 1.38 | 0 | 0.96 |  | 31 Mar @ midnght
Month: |  |  | March | 2026
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 34.2 |  | 34.8 | All ON
| 2 | 1 |  |  |  | 37.4 |  | 36.9 | All ON
| 3 | 1 |  |  |  | 45.6 |  | 44.5 | All ON
| 4 | 1 |  |  |  | 35.4 |  | 36.7 | All ON
| 5 | 1 |  |  |  | 40.5 |  | 42.2 | All ON
| 6 | 1 |  |  |  | 36.2 |  | 35.3 | All ON
| 7 | 1 |  |  |  | 40.9 |  | 42.3 | All ON
| 8 | 1 |  |  |  | 34.2 |  | 33.7 | All ON
| 9 | 1 |  |  |  | 43.5 |  | 43.6 | All ON
| 10 | 1 |  |  |  | 36.5 |  | 38.1 | All ON
| 11 | 1 |  |  |  | 42.5 |  | 41.4 | All ON
| 12 | 1 |  |  |  | 33.1 |  | 34.3 | All ON
| 13 | 1 |  |  |  | 37.7 |  | 38 | All ON
| 14 | 1 |  |  |  | 44.2 |  | 43.3 | All ON
| 15 | 1 | Sample run collected |  |  | 43.1 |  | 42.9 | All ON
| 16 | 1 |  |  |  | 39.6 |  | 40.5 | All ON
| 17 | 1 |  |  |  | 35.3 |  | 34.6 | All ON
| 18 | 1 | Sample run collected |  |  | 34.8 |  | 36.4 | All ON
| 19 | 1 |  |  |  | 37 |  | 38.1 | All ON
| 20 | 1 | Storm inflow overnight |  |  | 49.2 |  | 47.8 | All ON
| 21 | 1 |  |  |  | 34.6 |  | 34.1 | All ON
| 22 | 1 |  |  |  | 40.1 |  | 41.2 | All ON | [11 empty] | 2026-03-22 09:00
| 23 | 1 |  |  |  | 43.1 |  | 44.5 | All ON
| 24 | 1 |  |  |  | 41.1 |  | 42.1 | All ON
| 25 | 1 |  |  |  | 40.2 |  | 42 | All ON
| 26 | 1 |  |  |  | 45.8 |  | 45.3 | All ON
| 27 | 1 |  |  |  | 36.9 |  | 37.4 | All ON | [8 empty] | 2026-03-27 09:00
| 28 | 1 |  |  |  | 33.6 |  | 35.2 | All ON
| 29 | 1 | s.v - routine site check |  |  | 36.2 |  | 37.5 | All ON
| 30 | 1 |  |  |  | 41.9 |  | 42.1 | All ON
| 31 | 1 |  |  |  | 38.6 |  | 38.2 | All ON |  |  | 2026-03-31 09:00
5.1
[12 empty] | 1 | 0.92 | 1.24 | 1.05
3.2

## Apr 26
|  |  | Snapshot | 1.31 | 1.67 | 1.38 | 0 | 0.96 |  | 31 Mar @ midnght
|  |  | Snapshot | 1.13 | 1.96 | 1.56 | 0 | 0.6 |  | 30 Apr @ 5pm
Month: |  |  | April | 2026
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 33.8 |  | 33.7 | All ON
| 2 | 1 |  |  |  | 34.8 |  | 34 | All ON
| 3 | 1 |  |  |  | 36.4 |  | 37.9 | All ON
| 4 | 1 | Greased AE pump, all normal |  |  | 38.2 |  | 38.3 | All ON
| 5 | 1 |  |  |  | 41 |  | 40.5 | All ON
| 6 | 1 |  |  |  | 33.1 |  | 33.6 | All ON
| 7 | 1 |  |  |  | 39.5 |  | 40.4 | All ON
| 8 | 1 |  |  |  | 38.7 |  | 39.7 | All ON
| 9 | 1 | s.v - routine site check |  |  | 42.5 |  | 42.1 | All ON
| 10 | 1 |  |  |  | 39.4 |  | 39.7 | All ON
| 11 | 1 |  |  |  | 35.9 |  | 36 | All ON
| 12 | 1 |  |  |  | 40.3 |  | 42 | All ON
| 13 | 1 |  |  |  | 44.9 |  | 44.6 | All ON
| 14 | 1 |  |  |  | 41.4 |  | 40.4 | All ON | [8 empty] | 2026-04-14 09:00
| 15 | 1 |  |  |  | 33.9 |  | 34.3 | All ON
| 16 | 1 |  |  |  | 44.4 |  | 43.7 | All ON
| 17 | 1 |  |  |  | 43 |  | 44.6 | All ON
| 18 | 1 |  |  |  | 37.1 |  | 38.1 | All ON
| 19 | 1 |  |  |  | 44 |  | 44 | All ON
| 20 | 1 |  |  |  | 42.1 |  | 43.3 | All ON
| 21 | 1 | s.v - routine site check |  |  | 40.7 |  | 42.2 | All ON
| 22 | 1 | False flow during filter swap - 0.3 deducted |  | 0.3 | 44.7 |  | 46.6 | All ON
| 23 | 1 |  |  |  | 40.4 |  | 39.8 | All ON
| 24 | 1 |  |  |  | 36.3 |  | 35.8 | All ON
| 25 | 1 |  |  |  | 40.4 |  | 41.6 | All ON
| 26 | 1 |  |  |  | 33.7 |  | 34.7 | All ON
| 27 | 1 |  |  |  | 42.3 |  | 42.2 | All ON | [8 empty] | 2026-04-27 09:00
| 28 | 1 |  |  |  | 39.7 |  | 39 | All ON
| 29 | 1 |  |  |  | 42.5 |  | 41.4 | All ON
| 30 | 1 |  |  |  | 45.8 |  | 47.2 | All ON |  |  |  |  | 2026-04-30 09:00
5.25
[12 empty] | 1 | 0.95 | 1.18 | 1.02
3.1

## May 26
|  |  | Snapshot | 1.13 | 1.96 | 1.56 | 0 | 0.6 |  | 30 Apr @ 5pm
|  |  | Snapshot | 2.12 | 2.97 | 2.49 | 0 | 0.74 |  | 31 May @ midnight
Month: |  |  | May | 2026
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 44.8 |  | 45 | All ON
| 2 | 1 |  |  |  | 41.1 |  | 41.5 | All ON
| 3 | 1 |  |  |  | 35.8 |  | 36 | All ON
| 4 | 1 |  |  |  | 39.9 |  | 41.6 | All ON
| 5 | 1 |  |  |  | 41.6 |  | 41.3 | All ON
| 6 | 1 |  |  |  | 37.9 |  | 38.5 | All ON
| 7 | 1 |  |  |  | 45.5 |  | 46 | All ON | [10 empty] | 2026-05-07 09:00
| 8 | 1 |  |  |  | 40.5 |  | 39.4 | All ON
| 9 | 1 | Greased AE pump, all normal |  |  | 45.7 |  | 45.3 | All ON
| 10 | 1 |  |  |  | 36.4 |  | 35.8 | All ON
| 11 | 1 |  |  |  | 38.6 |  | 39 | All ON
| 12 | 1 | PLC freeze - values back-filled from SCADA daily totals |  |  | 38.6 |  | 39 | All ON
| 13 | 1 | PLC freeze - values back-filled from SCADA daily totals |  |  | 38.6 |  | 39 | All ON
| 14 | 1 |  |  |  | 44.2 |  | 45.7 | All ON
| 15 | 1 |  |  |  | 35.2 |  | 35.1 | All ON
| 16 | 1 |  |  |  | 38.5 |  | 37.7 | All ON | [5 empty] | 2026-05-16 09:00
| 17 | 1 |  |  |  | 35.7 |  | 37.3 | All ON
| 18 | 1 |  |  |  | 35.7 |  | 37.1 | All ON
| 19 | 1 |  |  |  | 44.8 |  | 43.7 | All ON
| 20 | 1 |  |  |  | 40.4 |  | 39.2 | All ON
| 21 | 1 |  |  |  | 36.9 |  | 37.9 | All ON
| 22 | 1 | Sample run collected |  |  | 42.4 |  | 43.3 | All ON
| 23 | 1 | Sample run collected |  |  | 34 |  | 34 | All ON
| 24 | 1 |  |  |  | 43.5 |  | 43.7 | All ON | [11 empty] | 2026-05-24 09:00
| 25 | 1 |  |  |  | 41.8 |  | 43 | All ON
| 26 | 1 |  |  |  | 37.2 |  | 36.4 | All ON
| 27 | 1 |  |  |  | 42.3 |  | 42.2 | All ON
| 28 | 1 |  |  |  | 40 |  | 39.9 | All ON
| 29 | 1 |  |  |  | 42.5 |  | 43.1 | All ON
| 30 | 1 |  |  |  | 34.5 |  | 36.2 | All ON
| 31 | 1 |  |  |  | 38 |  | 38.6 | All ON
5.25
[12 empty] | 1 | 0.95 | 1.18 | 1.02
3.1

## Jun 26
|  |  | Snapshot | 2.12 | 2.97 | 2.49 | 0 | 0.74 |  | 31 May @ midnight
|  |  | Snapshot | 0.95 | 1.78 | 1.42 | 0 | 0.75 |  | 30 Jun @ 0915am
Month: |  |  | June | 2026
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 37.7 |  | 36.5 | All ON
| 2 | 1 |  |  |  | 38.1 |  | 38.3 | All ON
| 3 | 1 |  |  |  | 38.3 |  | 39.9 | All ON
| 4 | 1 |  |  |  | 40.6 |  | 41.7 | All ON
| 5 | 1 |  |  |  | 44.7 |  | 45.9 | All ON
| 6 | 1 |  |  |  | 39.4 |  | 40.6 | All ON
| 7 | 1 |  |  |  | 41.3 |  | 42.2 | All ON
| 8 | 1 |  |  |  | 41.2 |  | 41.3 | All ON
| 9 | 1 | Greased AE pump, all normal |  |  | 41.2 |  | 42 | All ON | [5 empty] | 2026-06-09 09:00
| 10 | 1 |  |  |  | 45.2 |  | 46.5 | All ON
| 11 | 1 |  |  |  | 44 |  | 45.3 | All ON
| 12 | 1 | Sample run collected |  |  | 43.6 |  | 44.3 | All ON | [6 empty] | 2026-06-12 09:00
| 13 | 1 |  |  |  | 37.5 |  | 37.1 | All ON
| 14 | 1 |  |  |  | 42.2 |  | 43.8 | All ON
| 15 | 1 |  |  |  | 40.1 |  | 39.4 | All ON
| 16 | 1 |  |  |  | 43.8 |  | 44.2 | All ON
| 17 | 1 |  |  |  | 39.1 |  | 38 | All ON
| 18 | 1 |  |  |  | 39.6 |  | 40.8 | All ON
| 19 | 1 |  |  |  | 38.5 |  | 38.4 | All ON
| 20 | 1 | Sample run collected |  |  | 41.5 |  | 40.4 | All ON
| 21 | 1 |  |  |  | 39.6 |  | 41.4 | All ON
| 22 | 1 |  |  |  | 42 |  | 42.1 | All ON
| 23 | 1 |  |  |  | 42 |  | 42.7 | All ON
| 24 | 1 |  |  |  | 35.7 |  | 35.2 | All ON | [11 empty] | 2026-06-24 09:00
| 25 | 1 |  |  |  | 44.5 |  | 44.2 | All ON
| 26 | 1 |  |  |  | 34 |  | 35.5 | All ON
| 27 | 1 |  |  |  | 39.8 |  | 39.8 | All ON
| 28 | 1 |  |  |  | 39.6 |  | 40.8 | All ON
| 29 | 1 |  |  |  | 35.2 |  | 36.1 | All ON
| 30 | 1 |  |  |  | 42.3 |  | 43.7 | All ON
5.25
[12 empty] | 1 | 0.95 | 1.18 | 1.02
3.1

## Jul 26
|  |  | Snapshot | 0.95 | 1.78 | 1.42 | 0 | 0.75 |  | 30 Jun @ 0915am
|  |  | Snapshot | 1.23 | 2.15 | 1.63 | 0 | 0.78 |  | 31 Jul @ midnight
Month: |  |  | July | 2026
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 44 |  | 42.9 | All ON
| 2 | 1 |  |  |  | 44.7 |  | 45.5 | All ON
| 3 | 1 |  |  |  | 37.1 |  | 37.3 | All ON
| 4 | 1 |  |  |  | 42.9 |  | 44.2 | All ON
| 5 | 1 |  |  |  | 35.5 |  | 36.3 | All ON
| 6 | 1 |  |  |  | 35.2 |  | 37.1 | All ON |  |  | 2026-07-06 09:00
| 7 | 1 |  |  |  | 38.8 |  | 40.5 | All ON
| 8 | 1 |  |  |  | 42.5 |  | 43.2 | All ON
| 9 | 1 |  |  |  | 36.4 |  | 36.9 | All ON
| 10 | 1 |  |  |  | 34.8 |  | 34 | All ON
| 11 | 1 | Greased AE pump, all normal |  |  | 42.3 |  | 42.3 | All ON
| 12 | 1 |  |  |  | 42.8 |  | 42.4 | All ON
| 13 | 1 |  |  |  | 42.3 |  | 43.4 | All ON
| 14 | 1 |  |  |  | 37 |  | 36.1 | All ON
| 15 | 1 |  |  |  | 38.2 |  | 38.6 | All ON
| 16 | 1 | Heavy rain overnight, no issues |  |  | 34.3 |  | 33.7 | All ON
| 17 | 1 |  |  |  | 33.7 |  | 34.4 | All ON
| 18 | 1 |  |  |  | 44.6 |  | 44.1 | All ON
| 19 | 1 |  |  |  | 33.5 |  | 34.6 | All ON
| 20 | 1 |  |  |  | 43.6 |  | 45.5 | All ON
| 21 | 1 |  |  |  | 41 |  | 40.9 | All ON
| 22 | 1 |  |  |  | 43.9 |  | 43.1 | All ON
| 23 | 1 |  |  |  | 42 |  | 41.1 | All ON
| 24 | 1 |  |  |  | 38.2 |  | 38.6 | All ON
| 25 | 1 |  |  |  | 37.9 |  | 37.2 | All ON
| 26 | 1 |  |  |  | 36 |  | 37.4 | All ON
| 27 | 1 |  |  |  | 39 |  | 39.7 | All ON |  |  | 2026-07-27 09:00
| 28 | 1 | Sample run collected |  |  | 35.8 |  | 36.9 | All ON
| 29 | 1 |  |  |  | 37.3 |  | 38 | All ON
| 30 | 1 |  |  |  | 44.8 |  | 46.8 | All ON
| 31 | 1 |  |  |  | 33.6 |  | 35 | All ON | [8 empty] | 2026-07-31 09:00
5.25
[12 empty] | 1 | 0.95 | 1.18 | 1.02
3.1

## Aug 26
|  |  | Snapshot | 1.23 | 2.15 | 1.63 | 0 | 0.78 |  | 31 Jul @ midnight
|  |  | Snapshot | 2.65 | 4.07 | 3.28 | 0 | 1.85 |  | 14 Aug @ 0930am
Month: |  |  | August | 2026
| Day | Op | Comments |  | Error kL | FIT0101 kL |  | FIT0501 kL | Bores |  |  |  | AE pump grease | Air compressor drain | Bag filter swap | Dosing pump check | pH probe calibration | Flow meter verify | Sight glass clean | Cabinet filter | Oil level check | Alarm lamp test
| 1 | 1 |  |  |  | 34.9 |  | 35.8 | All ON
| 2 | 1 |  |  |  | 33.7 |  | 33.7 | All ON
| 3 | 1 | s.v - routine site check |  |  | 34.7 |  | 35 | All ON
| 4 | 1 |  |  |  | 43.9 |  | 45.6 | All ON
| 5 | 1 |  |  |  | 33.5 |  | 32.5 | All ON
| 6 | 1 | Tanker top-up delivery 2.5 kL (see adjustments) |  |  | 43.9 |  | 42.8 | All ON
| 7 | 1 | Heavy rain overnight, no issues |  |  | 36.6 |  | 35.8 | All ON
| 8 | 1 |  |  |  | 34.2 |  | 33.1 | All ON | [7 empty] | 2026-08-08 09:00
| 9 | 1 | PLC freeze overnight - day total back-filled from SCADA report |  |  | 41.3 |  | 42.5 | All ON
| 10 | 1 |  |  |  | 41.9 |  | 43.4 | All ON |  |  |  |  | 2026-08-10 09:00
| 11 | 1 |  |  |  | 41.6 |  | 41.6 | All ON
| 12 | 1 | Sample run collected |  |  | 41.2 |  | 43.1 | All ON | [12 empty] | 2026-08-12 09:00
| 13 | 1 |  |  |  | 41.3 |  | 40.9 | All ON
| 14 | 1 |  |  |  | 33.8 |  | 35.6 | All ON
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
[10 empty] | tanker top-up delivery | 2.5
5.25
[13 empty] | 1 | 0.95 | 1.18 | 1.02
3.1